## Slide 1: Balloon- borne measurement of Asian tropopause aerosol layer at Lhasa and Kunming during Asian summer monsoon
Jianchun Bian (IAP/CAS)
In the poster, balloon sounding water vapor, ozone, and particle (SWOP) campaign during the ASM will be introduced, including sonde, location and timing.
The Asian tropopause aerosol layer as revealed by satellite is indeed observed by in situ Cobald measurements!
If you have interest in the UTLS in situ measurement within the ASM anticyclone, you can contact me (bjc@mail.iap.ac.cn).

## Slide 2
Compact Optical Backscatter Aerosol Detector (ETH)
NOAA Frost Point Hygrometer (NOAA GMD)
Cryogenic Frost Point Hygrometer (Vömel-DMT)
Electrochemical Concentration Cell Ozonesonde (DMT)
Radiosonde: P, T, U, winds (u,v) (InterMet)
Balloon-borne sondes
CFH & FPH measure the water vapor concentration and RHi by detecting the frost point of the air-mass.
COBALD detects cloud particle and aerosol by emitting light at two wavelengths (455nm, 870nm), and receiving the back-scattered signal.

## Slide 3
Sounding timing
Kunming
Lhasa
Kunming, 2012
Lhasa 2013

## Slide 4: Water vapor Ozone RHi
KM
2009
(11)
LS
2010
(12)
Bian et al. GRL, 2012

## Slide 5
Vernier et al, GRL, 2011
Asian tropopause aerosol layer is indeed observed by in situ measurements !

## Slide 6
Low-ozone intrusion into the UT
KM 2009
KM 2012
Deep convection signal – Local or faraway
KM 2012 has fewer cases above 14 km – Interannual variation

## Slide 7: RHi distribution changes with temperature

## Slide 8
RHi distribution in/out cirrus cloud

## Slide 9: Summary
For the first time, in situ observing H2O, O3 and particle in the UTLS were conducted during the ASM.
Some specific features in the ASM UTLS are revealed: super-saturation, low ozone intrusion to the UT, aerosol layer, RHi structure in and out cirrus layer.
Further analysis (model and satellite data) should be done to understand the underlying micro-physical and dynamical processes.